xCAT 2 on AIX
Updating AIX cluster nodes
01/07/10, 10:48:14 AM

# Overview

There are various techniques that can be used to update the nodes of an xCAT cluster. This document describes some of the basic support that is provided for AIX nodes.
# Updating AIX diskfull nodes

Note: The AIX software maintenance support provided by the xCAT updatenode command described below is available in xCAT version 2.3.1 and beyond. For earlier releases you can still use the xCAT nimnodecust command. See the man page for details.
### Using the updatenode command

The xCAT updatenode command can be used to perform software maintenance operations on AIX/NIM standalone machines. This command uses underlying AIX commands to perform the remote customization of AIX diskfull (standalone) nodes.

The software packages and/or updates that you wish to install on the nodes must be copied to the appropriate directory locations in the NIM lpp_source resource that you are using for the nodes you wish to update.

(This step is needed to ensure that the software updates will be available when doing subsequent installations and/or updates.)

To find the correct lpp_source for the node get the name of the xCAT osimage definition from the "provmethod" attribute of the xCAT node definition and then get the name of the lpp_source resource from the osimage definition. You can use the xCAT lsdef command to display the node and osimage definitions.

For example.

lsdef -l clstrn01

This would display the node definition which will contain an entry for “provmethod”. If the value is “61image” then you would run:
lsdef -t osimage -o 61image -l
which gives you the osimage definition. The name of the NIM lpp_source resource is provided by the “lpp_source” attribute value.
You can either copy the software files to the correct lpp_source location manually or you can use the “nim -o update” command.
To copy manually you must first find the location of the lpp_source directories. Do this by running the “lsnim -l <lpp_source_name>” command.
lsnim -l 61image_lpp_source
If the location of your lpp_source resource is "/install/nim/lpp_source/61image_lpp_source/" then you would copy RPM packages to "/install/nim/lpp_source/61image_lpp_source/RPMS/ppc" and you would copy your installp packages to "/install/nim/lpp_source/61image_lpp_source/installp/ppc".
A much easier way to copy software to the lpp_source locations is to use the “nim -o update” command.
For example, assume all the required software has been copied and unwrapped in the /tmp/images directory.
To add all the packages to the lpp_source resource named “61image_lpp_source” you could run the following command:
nim -o update -a packages=all -a source=/tmp/images 610image_lpp_source
The NIM command will find the correct directories and update the lpp_source resource.

Once all the software has been copied to the proper location you need a way to tell the updatenode command exactly what you want done and how.

There are two methods that may be used to specify the software to update.

The first is to set the "installp_bundle" and/or the "otherpkgs" attributes of the xCAT osimage definition you are using for the node.

The second is to specify one or both of these attribute values on the updatenode command line.

Using the first method provides a record of what was updated which is stored in the xCAT database. This can be useful when managing a large cluster environment. The second method is more "ad hoc" but also can be more flexible.

The updatenode command will either use the information in the database or the information on the command line - BUT NOT BOTH. If you specify infornmation on the command line it will use that, otherwise it will use what is in the database.

When specifying the information on the command line you must use the “attr=val” format. You may include one or more “attr=val” pairs at the end of the command line. They must be separated by a space. ( I.e. [attr=val [attr=val ...]] )

The "installp_bundle" attribute value may be set to a comma separated list of one or more NIM installp_bundle resource names. These NIM resources must be created using standard NIM interfaces. See the section titled “Creating a NIM installp_bundle resource” later in this document for details.

The "otherpkgs" attribute value may be set to a comma separated list of installp filesets or rpm packages.

When specifying RPM names you must use a prefix of "R:". (ex. "R:foo.rpm").

Along with the names of the software to install you may also provide the specific installp and rpm flags you want used when those commands are run on the nodes. Use the "installp_flags" and "rpm_flags" attributes to provide this information. Make sure you specify the exact string you want used in quotes. For example: installp_flags="-apXY" rpm_flags="-i --nodeps".

The default value for installp_flags is "-agQX" and the default value for rpm_flags is "-Uvh".

When doing software maintenance on AIX nodes you may also find the "-c" flag useful. When you specify this flag on the updatenode command line the command will know to use the command line information ONLY, even if there is no software specified (i.e. It won't go look in the database.). This option would be needed when using installp or rpm options that do not require a list of software.

If you wish to see the output from the installp or rpm commands that are run then you must specifiy "-V" on the updatenode command line.

When working in a hierarchical xCAT cluster the updatenode command will automatically take care of distributing the software to the appropriate service nodes.

Examples.

(1) To update the AIX node named "xcatn11" using the "installp_bundle" and/or "otherpkgs" attribute values stored in the xCAT database. Use the default installp ("-agQX") and rpm ("-Uvh") flags.

updatenode xcatn11 -S

Note: The xCAT "xcatn11" node definition points to an xCAT osimage definition which contains the "installp_bundle" and "otherpkgs" attributes.

(2) To update the AIX node "xcatn11" by installing the "bos.cpr" fileset using the "-agQXY" installp flags. Also display the output of the installp command.

 updatenode xcatn11 -V -S otherpkgs="bos.cpr" installp_flags="-agQXY"

(3) To uninstall the "bos.cpr" fileset that was installed in the previous example.

updatenode xcatn11 -V -S otherpkgs="bos.cpr" installp_flags="-u"

(4) To update the AIX nodes "xcatn11" and "xcatn12" with the "gpfs.base" fileset and the "rsync" rpm using the installp flags "-agQXY" and the rpm flags "-i --nodeps".

updatenode xcatn11,xcatn12 -V -S	otherpkgs="gpfs.base,R:rsync-2.6.2-1.aix5.1.ppc.rpm" installp_flags=
"-agQXY" rpm_flags="-i --nodeps"

Note: Using the "-V" flag with multiple nodes may result in a large amount of output.

(5) Update the AIX node "node01" using the software specified in the NIM "sslbnd" and "sshbnd" installp_bundle resources and the "-agQXY" installp flags.

updatenode node01 -V -S installp_bundle="sslbnd,sshbnd"
installp_flags="-agQXY"

(6) To get a preview of what would happen if you tried to install the "rsct.base" fileset on AIX node "node42". (You must use the "-V" option to get the full output from the installp command.)

updatenode node42 -V -S otherpkgs="rsct.base" installp_flags="-apXY"

(7) To check what rpm packages are installed on the AIX node "node09". (You must use the "-c" flag so updatenode does not get a list of packages from the database.)

updatenode node09 -V -c -S rpm_flags="-qa"

### Using the xdsh method

Another method for updating a diskfull node would be to mount a directory containing the updates on the node and use the xdsh command to run the appropriate installp or rpm command.

Note: Using this method in a large cluster environment could quickly lead to a chaotic state in that it will be difficult to keep track of what software has been installed on what nodes. It also does not make use of the xCAT hierarchical support that is provided for large cluster environments. There could be scaling issues if updating a large number of nodes.

For example:
To mount a directory you could run something like-

xdsh <nodename> "mount <servername>:/my-inst-images /mnt”

To install an installp fileset-

xdsh <nodename> "installp –agQX -d /mnt <fileset name>”

To unmount the directory-

xdsh <nodename> "umount /mnt”
# Using the rolling update support

The rollupdate command creates and submits scheduler jobs that will notify xCAT to shutdown a group of nodes, run optional out-of-band commands from the xCAT management node, and reboot the nodes. Currently, only LoadLeveler is supported as a job scheduler with rollupdate.

Input to the rollupdate command is passed in as stanza data through STDIN. Information such as the sets of nodes that will be updated, the name of the job scheduler, a template for generating job command files, and other control data are required. See /opt/xcat/share/xcat/rollupdate/rollupdate.input.sample for stanza keywords, usage, and examples.

The rollupdate command will use the input data to determine each set of nodes that will be managed together as an update group. For each update group, a job scheduler command file is created and submitted. When the group of nodes becomes available and the scheduler runs the job, the job will send a message to the xCAT daemon on the management node to begin the update process for all the nodes in the update group. The nodes will be stopped by the job scheduler (for LoadLeveler, the nodes are drained), an operating system shutdown command will be sent to each node, out-of-band operations can be run on the management node, and the nodes are powered back on.

The rollupdate command assumes that, if the update is to include rebooting stateless nodes to a new operating system image, the image has been created and tested, and that all relevant xCAT commands have been run for the nodes such that the new image will be loaded when xCAT reboots the nodes.

See the rollupdate man page for usage details.
# Updating AIX diskless nodes
This section describes how AIX diskless nodes can be updated using xCAT and AIX/NIM commands. It covers both the switching of the node to a completely different image or updated the current image. It is not meant to be an exhaustive presentation of all options that are available to xCAT/AIX system administrators.
To update an AIX diskless node with new or additional software you must modify the NIM SPOT resource (operating system image) that the node is using and then reboot the node with the new SPOT. You cannot install software on a running diskless node directly.

Since you cannot modify a SPOT while a node is using it, you have basically two options. You can either stop all the nodes and then update the existing OS image, or, you can create a new updated image to use to boot the nodes.

Stopping the nodes to do the updates means the nodes will be unusable for some period of time and there will be no easy way to return to the previous image if necessary. For these reasons the procedure described in this “How-To” will focus on creating a new image and rebooting the nodes with that image. The new image could be a completely new operating system image or it could be a copy of the the existing image that you can update as needed.
## Create a new image
### Create a new image from different source
In this case we create a new xCAT osimage definition with a new set of resources by running the xCAT mknimimage command with the source for the new resources. This is the same way you created the original xCAT osimage definition for the node.
When you run the command you must provide a source for the installable images. This can be the location of the source code or the name of another NIM lpp_source resource. You must also provide a name for the image you wish to create. This name will be used for the NIM SPOT resource definition as well as the xCAT osimage definition.
By default the NIM resources will be created in a subdirectory of /install/nim. You can use the “-l” option to specify a different location.
For example, to create a diskless image called “61dskls” using the AIX installation images in the /my-install-images directory as the source you could issue the following command.
mknimimage -t diskless -s /my-install-images 61dskls
(This operation could take a while to complete!)
  The command will create new NIM lpp_source and SPOT resources. It will also create dump, paging, and root resources if needed. A new xCAT osimage definition will also be created, (called “61dskls”), which will contain the names of these resources.
  You could also use the name of an existing NIM lpp_source resource as the source of a new osimage definition. For example, you could use a resource created for a previous osimage called 61dskls_lpp to create a whole new osimage called 61dskls_updt as follows.
 mknimimage -t diskless -s 61dskls_lpp 61dskls_updt
The mknimimage command will display the contents of the new xCAT osimage definition when it completes.
This new image can now be updated and used to boot the node.
### Copy an existing image
You can use the mknimimage command to create a copy of an image. For example, if the name of the currently running image is 61dskls and you want make a copy of it to update, you could run the following command.

mknimimage -t diskless -i 61dskls 61dskls_updt

If an "-i " value is provided then all the resources from the xCAT osimage definition (61dskls) will be used in the new osimage definition except the SPOT resource. The new SPOT resource will be copied from the one specified in the original definition and renamed using the new osimage name provided (61dskls_updt). A new xCAT osimage definition will also be created, called “61dskls_updt”, which will contain the names of these resources.

This new image can now be updated and used to boot the node.
## Update the image (SPOT)

Updating a diskless node with fixes or additional software involves updating the SPOT that is being used to boot the node.

There are two basic types of updates you can make to a SPOT:
1. Install (or update) additional installp file sets or rpm packages.
2. Add or modify specific files, (such as /etc/inittab).

These two processes can be done using NIM commands or by using the xCAT mknimimage command with the “-u” option.

Note: You should not attempt to update a SPOT resource that is currently allocated to a node. If you need to update an allocated SPOT either you can shut down the nodes and deallocate the SPOT resource first or you can make a copy of the SPOT and update that. To check to see if the SPOT is allocated you could run the following command.
lsnim -l <spot name>

To shut down the nodes you can use xdsh to run “shutdown -F &” on the nodes. You can use the xCAT rmdsklsnode command to deallocate the nodes resources and remove the node from the NIM database. This command will not remove the node from the xCAT database.
### Install additonal software
You can use the xCAT “mknimimage -u” command to install both installp file sets and rpm packages in a SPOT resource.
Before running the mknimimage command you must add the new filesets and/or RPMs to the lpp_source resource used to create the SPOT. If we assume the lpp_source location for 61dskls is /install/nim/lpp_source/61dskls_lpp_source . The installp packages would go in: /install/nim/lpp_source/61dskls_lpp_source/installp/ppc and the RPM packages would go in: /install/nim/lpp_source/61dskls_lpp_source/RPMS/ppc.
The easiest way to copy the software to the correct locations is to use the “nim -o update ..” command. Just provide the directory that contains your software and the NIM lpp_source resource name. (ie. “61dskls_lpp_source”).
If your new packages are in /tmp/myimages then you could run:
nim -o update -a packages=all -a source=/tmp/myimages	61dskls_lpp_source
Note: If you do not use this command to update the lpp_source then make sure you update the .toc file by running “inutoc .”.
Once the lpp_source has been updated you can use the mknimimage command to install the updates in the SPOT resource for this xCAT osimage.
There are two methods that may be used to specify the software to update.

The first is to set the "installp_bundle" and/or the "otherpkgs" attributes of the xCAT osimage definition you are using for the node.

The second is to specify one or both of these attribute values on the mknimimage command line.

Using the first method provides a record of what was updated which is stored in the xCAT database. This can be useful when managing a large cluster environment. The second method is more "ad hoc" but also can be more flexible.

The mknimimage command will either use the information in the database or the information on the command line - BUT NOT BOTH. If you specify information on the command line it will use that, otherwise it will use what is in the database.

The "installp_bundle" value can be a comma separated list of (previously defined) NIM installp_bundle resource names. The "otherpkgs" value can be a comma separated list of installp filesets and/or rpm package names. The rpm names must be preceded by “R:”, (ex. R:foo.rpm ). The "synclists" value is described below.
If using the first method you would add these values to an xCAT osimage using the xCAT chdef command. For example, to update the xCAT osimage definition called “my61dskls” you could run a command similar to the following:
chdef -t osimage -o my61dskls installp_bundle=”mybndlres1,mybndlres2” otherpkgs=”openssh.base,R:popt-1.7-2.aix5.1.ppc.rpm”
Once the osimage definition is updated you can use the mknimimage command to apply those updates to the SPOT associated with that osimage.
mknimimage -u my61dskls
If using the second method you would simply add the information to the mknimimage command line. If you provide one or more of the "installp_bundle", "otherpkgs", or "synclists" values on the command line then the mknimimage command will use those values ONLY. The xCAT osimage definition will not be used or updated in this case.
In this case you would run the mknimimage command similar to the following.
mknimimage -u my61dskls installp_bundle=”mybndlres1,mybndlres2” otherpkgs=”openssh.base,R:popt-1.7-2.aix5.1.ppc.rpm”
The difference here is that the information the osimage definition is not used and this information is not saved.
Any additional software that is needed can be installed in a similar manner.
Note: When installing software into a SPOT the pre and post install scripts for a particular software package will not run any code that will impact your running system, (like restarting daemons etc.). The script will check to see if it's installing into a SPOT and it will not run that code.
You can also specify installp flags on the mknimimage command line by setting the “installp_flags” attribute to the value you want to be used. The default flags, if not specified, are "-agQX".
For example, to specify different flags you could run the command as follows.
mknimimage -u my61dskls installp_flags=”-agcQX”
Note: These flags are sent to the “nim -o cust” command so do not include “-”.
If you have multiple sets of software that require different flags you can run the mknimimage command multiple times.
### Add or modify files in a SPOT
You can update files in the SPOT manually or by using the xCAT mknimimage command.
#### To update manually
The root file system for a diskless node will be created by copying the “inst_root” directory contained in the SPOT. In the SPOT we created for this example the “inst_root” directory would be:
/install/nim/spot/61dskls/usr/lpp/bos/inst_root/
If you need to update the /etc/inittab file in the SPOT that will be used on the diskless nodes you could edit:
/install/nim/spot/61dskls/usr/lpp/bos/inst_root/etc/inittab
You can also copy specific files into the inst_root directory so they will be available when the nodes boot. For example, you could copy a script called myscript to /install/nim/spot/61cosi/usr/lpp/bos/inst_root/opt/foo/myscript and then add an entry to /etc/inittab so that it would be run when the node boots.
All the diskless nodes that are booted using this SPOT will get a copy of inst_root as the initial root directory.
#### To update using mknimimage
XCAT supports the concept of a synclists file. This is a file that can be used to specify what configuration files need to be updated (synchronized). In the synclists file, each line is an entry which describes the location of the source files and the destination location for the files.

To use the mknimimage command to update files in the SPOT you must create a synclists file and pass the full path name to the command. One advantage of using the synclists file is that you have a record of what was done for a particular osimage and the update can be repeated easily if needed.
The basic entry format looks like following:
        path_of_src_file1 -> path_of_dst_file1
        path_of_src_file1 path_of_src_file2 ... -> path_of_dst_directory
The path_of_src_file* should be the full path of the source file on the Management Node. The path_of_dst_file* should be the full path of the destination file on target node. The path_of_dst_directory should be the full path of the destination directory.
The following formats are supported:
(1) sync file /etc/file1 to the file /etc/file1 on the node with the same file name. Note with one file, full path to file must be provide.
/etc/file1 -> /etc/file1
(2) sync file /etc/file2 to the file /etc/file3 on the node (with different file name)
 /etc/file2 -> /etc/file3
(3) sync file /etc/file2 to the file /etc/tmp/file3 on the node with different file name, different directory) If the directory does not exist, it will be created.
/etc/file2 -> /etc/tmp/file3
(4) sync the multiple files /etc/file1, /etc/file2, /etc/file3, ... to the directory /tmp/etc (/tmp/etc must be a directory when multiple files are sync'd at one time). If the directory does not exist, xdcp will create it.
/etc/file1 /etc/file2 /etc/file3 -> /tmp/etc

Once the synclists file is create you can either add it to the xCAT osimage definition or specify it on the mknimimage command line.
To add it to an osimage definition you could run a command similar to:
chdef -t osimage -o 61dskls synclists=”/full-path/mysyncfile”
You could then run mknimimage as follows:
mknimimage -u 61dskls
(Do not specify "installp_bundle", "otherpkgs", or "synclists" on the command line.)
Or, you could do a one time update by specifying the synclists file on the command line as follows:
mknimimage -u 61dskls synclists=”/full-path/mysyncfile”
## Verify the new image (optional)
To display the xCAT image definition run the xCAT lsdef command.
lsdef -t osimage -l -o 61dskls
To get details for the NIM resource definitions use the AIX lsnim command. For example, if the name of your SPOT resource is "61dskls" then you could get the details by running:
lsnim -l 61dskls
To see the actual contents of a resource use "nim -o showres <resource name>".
For example, to get a list of the software installed in your SPOT you could run:
        nim -o showres 61dskls
## Re-initialize the NIM diskless nodes
You can re-initialize your diskless nodes to boot with the new or updated SPOT by running the mkdsklsnode command.

There are two basic situations where you would need to re-initialize a NIM diskless machine.
1. When you want to switch a node to a new image.
2. When you want to do the initialization for a new image while the node is still running. (This avoids having the node be down while the initialization step is completing.)

In the first situation you want to switch the nodes to use a new or updated image. If the diskless node is currently running you can use the "-f" (force) option of the mkdsklsnode command. With this option the mkdsklsnode command will stop the running node, deallocate the resources and do the NIM re-initialization with the new image. In this case the node would be unavailable during the initialization as well as the time for the node reboot.

Note: The NIM support for re-initialization take 3-4 minutes and is done sequentially.

For example, to switch the node named “node29” to a new image named “611spot” you could run the following command.

mkdsklsnode -f -i 611spot node29

The name of the image (“611spot”) is the xCAT osimage name which is also the name of the SPOT resource that was created for this osimage definition.

In the second scenario we want to initialize an xCAT diskless node while the node continues running. To do this we need to create an alternate NIM machine definition for the same xCAT cluster node.

Creating alternate NIM machine definitions is possible because the NIM name for a machine definition does not have to be the hostname of the node. This allows you to have multiple NIM machine definitions for the same node. Since all the NIM initialization of the alternate machine definition can be done while the node is running, the downtime for the node is reduced to the time it takes to reboot.

For example, to initialize the xCAT node named “node42” to use the xCAT osimage named “61dskls” you could run the following command.

mkdsklsnode -n -i 61dskls node42

The naming convention for the new NIM machine name is "<xcat_node_name>_<image_name>", (Ex."node42_61dskls"). You could continue to create alternate machine definitions for each new image you wish to use for the node. The last NIM machine name that is initialized will determine what the node will use for the next boot.

Debug tip: If you have forgotten which machine name you last initialized with NIM, and want to verify which image will actually be loaded on the next boot, NIM creates a /tftpboot/<hostname>.info file that contains mount information for the SPOT and other resources. You can check what will be mounted for the next boot of the node.

Using the “-n” option will save time but it will also leave you with multiple alternate NIM machine definitions for the same node. If you wish to do go back to the “normal” naming convention, ( using the xCAT node name as the NIM machine name), you could run the mkdsklsnode command for the same node without the “-n” option. For example, in the previous example you got a NIM machine definition called “node42_61dskls”. If you wish to switch back to a NIM machine name of “node42” for the next update you could run mkdsklsnode as follows. (You may need the “-f” (force) option if the “node42” definition already exists. )

mkdsklsnode -f -i 611dskls node42
## Verify node readiness (optional)
To verify that NIM has allocated the required resources for a node and that the node is ready for a network boot you can run the “lsnim –l” command. For example, to check node “node01” you could run the following command.
lsnim -l node01
In preparation for the network boot the NIM “dkls_init” operation configures bootp/dhcp. At this point you can verify that the /etc/bootptab file for bootp or /var/lib/dhcp/db/dhcpd.leases file for dhcp has an entry for each node you wish to boot. Also, it is recommended that you stop and restart the inetd service to ensure the new bootp/dhcp configuration is loaded:
 stopsrc -s inetd
startsrc -s inetd
## Initiate a network boot
Initiate a remote network boot request using the xCAT rnetboot command. For example, to initiate a network boot of all nodes in the group “aixnodes” you could issue the following command.
rnetboot aixnodes
NOTE: If you receive timeout errors from the rnetboot command, you may need to increase the default 60-second timeout to a larger value by setting ppctimeout in the site table:
chdef -t site -o clustersite ppctimeout=180
# Getting software and firmware levels
## Using the sinv command
The sinv command is designed to check the configuration of the nodes in a cluster. The command takes as input command line flags, and one or more templates which will be compared against the output of the xdsh command, designated to be run by the -c or -f flag, on the nodes in the noderange.

The nodes will then be grouped according to the template they match and a report returned to the administrator in the output file designated by the -o flag, or to stdout.

sinv supports checking the output from the rinv or xdsh command.

The sinv command is an xCAT Distributed Shell Utility.
See the man pages for sinv & rinv for more details.

# Creating a NIM installp_bundle resource
To define a NIM installp_bundle resource you must create a bundle file in an exportable directory and then create the NIM definition.

In an xCAT cluster the default location for NIM resources is “/install/nim” and typically the installp_bundle files are in “/install/nim/installp_bundle”.

A bundle file contains a list installp filesets and/or rpm package names. The RPMs must have a prefix of "R:" and the installp packages must have a prefix of "I:". For example, the contents of a simple bundle file might look like the following.

# RPM
R:expect-5.42.1-3.aix5.1.ppc.rpm
R:ping-2.4b2_to-1.aix5.3.ppc.rpm

#installp
I:openssh.base
I:openssh.license

To create a NIM installp_bundle definition you can use the "nim -o define" operation. For example, to create a definition called "mypkgs" for a bundle file located at "/install/nim/mypkgs.bnd" you could issue the following command.

nim -o define -t installp_bundle -a server=master -a	location=/install/nim/mypkgs.bnd mypkgs

See the AIX documentation for more information on using NIM installp_bundle resources.